HARTSEL HOME – PHASE 1 - OWNER SCOPE SUMMARY

1. PROJECT INTENT

Phase 1 establishes complete, code-compliant infrastructure and constructs Yurt 1 as a fully operational dwelling. All major infrastructure systems shall be sized and positioned to support future Phase 2 (Yurt 2).

2. PHASE 1 SCOPE OF WORK

A. Pre-Construction & Permitting

- Architectural and structural drawings

- Engineering for foundation and structural components

- Permit preparation and submission

- Coordination of well and septic approvals

- Utility trenching and site marking

B. Site Development

- Clearing, grading, compacting the native soil driveway (approx. 158' x 20')

- Clearing, grading, compacting the building site

- Culvert installation if required by jurisdiction

C. Foundation & Infrastructure

- Frost-Protected Shallow Foundation (FPSF) slab

- Radiant floor heating system integrated within slab

- Well drilling and connection

- Septic system installation sized for future Phase 2 expansion (2–4 bedroom capacity)

- Underground utilities stubbed to allow future connection to Yurt 2

D. Yurt 1 – Structure & Envelope

- Delivery and erection of engineered yurt system

- Structural integration with slab foundation

- Snow and wind-rated structural system appropriate for local conditions

- Exterior doors and windows installed

- Insulation and weather-tight enclosure completed

E. Mechanical, Electrical & Plumbing (Yurt 1)

- Operational plumbing system

- Operational solar power system

- Electrical panel and distribution system

- HVAC/mini-split system installation

- Water heater installation

- Required inspections completed

F. Interior Completion – Yurt 1

- Interior partition construction (bathroom and utility areas)

- Finished flooring surface

- Kitchen and bathroom fixture installation

- Lighting and final electrical devices

- Appliance installation

- Completion of punch list items necessary for occupancy

3. PHASE 1 COMPLETION STANDARD

Phase 1 shall result in a move-in-ready, code-compliant primary dwelling with fully operational well, septic, heating, plumbing, and electrical systems, and all required inspections completed.

4. EXCLUSIONS (PHASE 2)

Phase 2 shall include construction of Yurt 2 and its associated interior systems and finishes. No structural construction of Yurt 2 is included in Phase 1.